**Section II\_Comments from Kinson Ho, Change Healthcare**

* Section II:
  + Under “Clinical Decision Support”
    - For “Communicate Appropriate Use Criteria with the Order and Charge to the Filling Provider and Billing System for Inclusion on Claims”, the Adoption Level for IHE CDS-OAT should be 1
  + Under “Images”
    - For “Format of Radiation Exposure Dose Reports for Exchange and Distribution”, recommend to also include the following:
      * IHE Radiation Exposure Monitoring (REM) profile (Section 22 in <https://www.ihe.net/uploadedFiles/Documents/Radiology/IHE_RAD_TF_Vol1.pdf>). Adoption level should be 2.
      * IHE Radiation Exposure Monitoring for Nuclear Medicine (REM-NM) profile (<https://www.ihe.net/uploadedFiles/Documents/Radiology/IHE_RAD_Suppl_REM-NM.pdf>). Adoption level should be 1.
    - For “Format of Radiology Reports for Exchange and Distribution, recommend to also include the following
      * IHE Results Distribution (RD) profile (<https://www.ihe.net/uploadedFiles/Documents/Radiology/IHE_RAD_Suppl_RD.pdf>). Adoption level should be 1